## Price Bid
PRICE BID FORM
Supply of Thermal Relief Valves (TRV) & Automatic Recirculation Valves (ARV/ ARC), Vihama Project
SR. No. | MATERIAL DESCRIPTION | QUANTITY IN NOS | UNIT RATE IN INR | TOTAL BASIC RATE IN INR | Packing charges in % on C | Tpt charges in % on C | Total Basic+Pckg+ Tpt | GST @0.1% | TOTAL IN INR | OFFERED BRAND / MAKE
|  | A | B | C = AxB | D | E | F=C+D+E | G=Fx0.1% | F+G
1 | THERMAL RELIEF VALVES
1.1 | Supply of Thermal Relief Valves, Service- AGO (Gasoil) a. Inlet & Outlet connection-1" Flanged, ANSI 150# b. Set pressure- 8 Kg/cm2g c. Design pressure- 12 kg/cm2g Refer to our technical datasheet for details. | 2 | 11000/- | 22000/- | 1760/- | If any , in saga global account | 23760/- | #VALUE! | #VALUE!
1.2 | Supply of Thermal Relief Valve, Service- AGO (Gasoil) a. Inlet & Outlet connection-1" Flanged, ANSI 150# b. Set pressure- 10 Kg/cm2g c. Design pressure- 15 kg/cm2g Refer to our technical datasheet for details. | 1 | 11000/- | 11000/- | 880/- | If any , in saga global account | 11880/- | #VALUE! | #VALUE!
1.3 | Supply of Thermal Relief Valves, Service- PMS (Mogas) a. Inlet & Outlet connection-1" Flanged, ANSI 150# b. Set pressure- 8 Kg/cm2g c. Design pressure- 12 kg/cm2g Refer to our technical datasheet for details. | 2 | 11000/- | 22000/- | 1760/- | If any , in saga global account | 23760/- | #VALUE! | #VALUE!
1.4 | Supply of Thermal Relief Valves, Service- PMS (Mogas) a. Inlet & Outlet connection-1" Flanged, ANSI 150# b. Set pressure- 10 Kg/cm2g c. Design pressure- 15 kg/cm2g Refer to our technical datasheet for details. | 1 | 11000/- | 11000/- | 880/- | If any , in saga global account | 11880/- | #VALUE! | #VALUE!
2 | AUTOMATIC RECIRCULATION VALVES
2.1 | Supply of Automatic recirculation valves, Service-AGO (Gasoil) a. Inlet/Outlet connection & Rating- Size-3", 150# b. Valve type- Globe-straight type c. Set point for pressure regulating valve- 4.5 Kg/cm2g d. Min. Recirculation flow through ARV- 61 m3/ hr Refer to our technical datasheet for details. | 4 | 50400/- | 201600/- | 16128/- | If any , in saga global account | 217728 | 217.728 | 217945.728
2.2 | Supply of Automatic recirculation valves, Service- PMS (Mogas) a. Inlet/Outlet connection & Rating- Size-3", 150# b. Valve type- Globe-straight type c. Set point for pressure regulating valve- 4.5 Kg/cm2g d. Min. Recirculation flow through ARV- 61 m3/ hr Refer to our technical datasheet for details. | 4 | 50400/- | 201600/- | 16128/- | If any , in saga global account | 217728 | 217.728 | 217945.728

## Terms & Conditions
PROCUREMENT OF ITEMS FOR OUR VIHAMA PROJECT GHANA
Sr.No. | Terms & Conditions | Your offer
1 | Delivery period in no. of days from the placement of order | As per quotation
At the earliest as we need the material urgently at our site
2 | Payment Terms - Our payment Terms are : | As per quotation
10% Advance Payment and Balance 90% against Delivery of Material
3 | Guarantee / Warranty Period : | As per quotation
| 18 Months from the date of supply and 12 months from the date of Commissioning whichever is earlier | OK
4 | Packing : SEAWORTHY Export Worthy Packing. | Yes .
5 | Taxes & Duties : GST @ 0.1% as it is deemed export | OK
6 | Prices should be FOB Nhava Sheva Port | Ex - Works -Ahmedabad
7 | Validity of offer : It should be for 30 days from the date of Offer | Yes
8 | LD Clause | N A
0.5% per week to max 5% of undelivered material of basic purchase order value. We reserve the right to ask you to suspend dispatches of the material covered under Order for such period as we think fit in the event of strikes, accidents or other causes beyond our control or if shipment is not effected within the license validity period.
9 | Insurance: The Insurance of the material till it is delivered at destination port at Mumbai will be in scope of the supplier. | No - It is in purchaser scope
10 | Unloading of material at Nhava Sheva Port shall be in the scope of supplier. | No- It is in purchaser scope